C O L L I N   C O U N T Y,   T E X A S

A D D E N D U M  # 	     (Two)  2				BID NO. 10020-10

Invitation For Bid

Services: Electronic Fire Alarm & Fire	 					      Sprinkler Systems Maintenance & Repairs

# DATE:		01/26/2010

NOTICE TO ALL PROSPECTIVE BIDDERS:

PLEASE MAKE THE FOLLOWING CHANGES TO INVITATION FOR BID.

BID DUE DATE IS CHANGED:

DELETE:

Thursday, January 28, 2010 at 2:00 P.M.

ADD:

Thursday, February 4, 2010 at 2:00 P.M.

(Continued)

PLEASE MAKE THE FOLLOWING CHANGES TO INVITATION FOR BID SPECIFICATIONS.

Change the following regarding Section: 4.12.1

DELETE:

    - Successful bidder shall be state licensed, EST certified, and in the fire sprinkler industry for a minimum of ten (10) years, lead technicians for a minimum of five (5) years.

ADD:

    - Successful bidder shall provide state licensed, EST certified technician to perform services required by this contract. Successful bidder shall have been in the fire sprinkler industry for a minimum of ten (10) years, proposed EST lead technician for a minimal of five (5) years.

Add the following Section: 4.12.1.1

ADD:

- 4.12.1.1 	SUBCONTRACTING:  The term “Successful Bidder” as used herein means company performing services under this contract, and shall also include any sub-contractor retained by the successful bidder as permitted under the terms of this contract.  The successful bidder may, with proper submission of the required documents and EST licensing with bid submittal, enter into subcontracts with third parties for its performance of any part of the successful bidder’s obligations under this agreement.  The successful bidder agrees that all sub-contractor shall be agents of the successful bidder.  The successful bidder further agrees that Collin County and its agents, servants and employees shall not be liable for any loss or damage resulting from personal injury, physical loss, harassment of or discrimination against employee, or other violations of the provisions of this contract occasioned by the acts or omissions of the successful bidder’s sub-contractors, their agents or employees.  The indemnification provisions of this contract shall apply to all sub-contractors.

(Continued)

Change the following regarding Section 4.12.2

DELETE:

    - Successful bidder shall maintain an adequate number of employees to complete services required in a timely manner.  All technicians, installers, and programmers, on-site shall be EST certified.  All service, regular and special, shall be rendered at such times and in such a manner that minimum interference with normal facility operating agenda, will result. Some buildings will require after hours or weekend inspections. These buildings to be determined at scheduled pre-bid conference.

ADD:

    - Successful bidder shall maintain an adequate number of employees to complete services required in a timely manner.  All technicians, installers, and programmers on-site, shall be EST certified. Helpers must work under direction of a certified technician.  All service, regular and special, shall be rendered at such times and in such a manner that minimum interference with normal facility operating agenda, will result.

Change the following regarding Section 4.12.4.2

DELETE:

4.12.4.2 	Fire alarm and sprinkler Technicians license for each Lead Technician on the jobsite.

ADD:

      - Fire alarm and sprinkler Technicians’ EST license for each Lead Technician on the jobsite.

(Continued)

PLEASE NOTE ALL OTHER TERMS, CONDITIONS, SPECIFICATIONS, DRAWINGS, ETC. REMAIN UNCHANGED.

SINCERELY,

FRANKLIN YBARBO

PURCHASING AGENT

/rw