11-19-10
Court Approved Sole Source Suppliers
· Securenet – programming only-Sole Source by Court Order 99-174-03-22

· Rockwall Controls-HVAC Controls Integrator-programming only-Sole Source by Court Order 2005-096-02-07

· Carrier Bock-Energy Management System-programming only-Sole Source by Court Order 97-357-05-27
· Motorola Radio Systems-equipment-Sole Source by Court Order 97-815-11-24

· DFW Communications-Motorola authorized service dealer-Sole Source by Court Order 2006-947-10-10

· Metroplex Control Systems-proprietary PLC source code-Sole Source by Court Order 2005-054-11-24

Preferred Manufacturers and Service Providers
· Edwards EST Fire Alarm system and communication to Central Plant-preferred manufacturer, equipment and services are competitive
· Panduit Certified Data Installer-preferred by dept, services are competitive
· Panduit Parts and Panduit or Pan-Gen Cabling-preferred manufacturer, equipment and cabling are competitive
· APC – Uninterruptible Power Systems-preferred manufacturer, equipment is competitive
· GE or Square D Electrical systems-preferred manufacturer, equipment is competitive
· Square D Electrical Monitoring-preferred by dept
· HVAC Controls – Honeywell or Distech-preferred manufacturer, equipment is competitive
· Stentophon Jail Intercom system-preferred manufacturer, equipment is competitive
· Capco - digital fiber installation-sole source ONLY if attaching to fiber ring.  Inter and Intra Building connections are to be bid using Panduit Certification process
· Biamp Audia Digital Audio platform – Preferred manufacturer for Audio systems requested by I.T.

· AMX netlinx integrated controller (NI-3100) – preferred manufacturer for A/V control system requested by I.T.

· AMX AXLINK – Preferred manufacturer for A/V control cable requested by I.T.

· Neutric – Preferred manufacturer for Audio connectors requested by I.T.

· Ortronics – Preferred manufacturer for patch panel with amphenol cable connector requested by I.T.
· CPC – Preferred manufacturer for Adult Detention door locks in clusters 1 and 3 requested by Facilities.
Standard System Requirements

· 100% generator plus 30 minute UPS backup for Data – Adult Detention, Central Plant,  Medical Examiner, and any other 7 day – 24 hour facility
· Generator for Life Safety plus 30 Minute UPS backup for Data – All other buildings
· Auto cad and PDF drawings for design and as-builts
· Dust contamination filtering in MDF, IDF, and A/V closet
· MDF, IDF, and A/V closet room clearance to allow 36” around populated equipment racks
· MDF, IDF, and A/V closets should have only one waterline in the room and that would be the fire sprinkler line feeding the room

· A/V closets should be individually thermostat controlled areas 
· MDF and IDF HVAC will be conditioned by individual CRAC units
· Wall phones in MDF, IDF, A/V closet, Electric, and Mechanical rooms
· Use high efficiency sprinkler heads and drip system technology on irrigation system
· Tankless hot water systems instead of water heaters
· Automatic door systems on all building entrances
Office Size Standards
Judge’s Offices – 300 sqft

Elected Officials and Department Heads - 225 sqft

Managers – 144 sqft

Supervisors – 120 sqft

Probation - 100 sqft

Staff cubicles – 64 sqft

